## Slide 1: Mikrofonski nizovi i prostorno-vremenska obrada signala

## Slide 2: Sadržaj
Uvod
Geometrija mikrofonskih nizova
Algoritmi za prostorno-vremensku obradu signala
Primene i praktična upotreba
Notes: Današnje predavanje organizovano kroz 4 celine

## Slide 3: Uvod
Ne postoji podatak o lokaciji izvora !

## Slide 4: Uvod

## Slide 5: Uvod
Veći broj senzora u prostoru
Prostorno odabiranje signala
Razlike u amplitudama i fazama
Algoritmi za prostorno-vremensku obrada signala:
  Određivanje pravca nailaska zvuka
  Prostorno filtriranje signala

## Slide 6
Geometrija mikrofonskih nizova

## Slide 7
Niske frekvencije: veliko rastojanje između mikrofona
Visoke frekvencije: malo rastojanje između mikrofona
Dijagram usmerenosti

## Slide 8
Dijagram usmerenosti

## Slide 9
Primeri mikrofonskih nizova

## Slide 10
Primeri mikrofonskih nizova

## Slide 11
Cilj optimizacije: određivanje pozicije mikrofona
Kriterijumi optimizacije:
  Minimizacija širine glavnog loba (BW)
  Minimizacija amplitude bočnih lobova (MSL)
24 mikrofona
48 promenljivih
Optimizacioni algoritam

## Slide 12
Optimizacioni algoritam

## Slide 13
Miloš Bjelić, Miodrag Stanojević, Dragana Šumarac Pavlović, Miomir Mijić, Microphone array geometry optimization for traffic noise analysis, The Journal of the Acoustical Society of America, Vol 141(5), 3101-3104 (2017).
Optimizacioni algoritam

## Slide 14
Miloš Bjelić, Miodrag Stanojević, Dragana Šumarac Pavlović, Miomir Mijić, Microphone array geometry optimization for traffic noise analysis, The Journal of the Acoustical Society of America, Vol 141(5), 3101-3104 (2017).
Optimizacioni algoritam

## Slide 15
3m
Realizacija prototipa

## Slide 16
Algoritmi za obradu signala sa mikrofonskog niza

## Slide 17
Određivanje pravca nailaska zvučnog talasa
  Delay and Sum
  CB (Conventional Beamforming)
  CLEAN-SC
  DAMAS2 (Deconvolution Approach for the Mapping of Acoustic Scources)
  ….
  Izdvajanje željenih signala
Algoritmi za obradu signala sa mikrofonskog niza

## Slide 18
Delay and sum

## Slide 19
Delay and sum

## Slide 20
Delay and sum

## Slide 21
Lokalizacija izvora

## Slide 22
DaS u frekvencijskom domenu
Lokalizacija po frekvencijskim opsezima
T.F. Brooks, W.M. Humphreys, „A deconvolution approach for the mapping of acoustic sources (DAMAS) determined from phased microphone arrays“, Journal of Sound and Vibration 294.4, 856-879, 2006.
Conventional Beamforming

## Slide 23
Lažni izvori

## Slide 24
A – uticaj niza
X – stvarna raspodela zvučnog polja
Y – Rezultat dobijen sa CB (prljava mapa)
Uklanjanje uticaja mikrofonskog niza
DAMAS algoritam iterativno rešava sistem linearnih jednačina
T.F. Brooks, W.M. Humphreys, „A deconvolution approach for the mapping of acoustic sources (DAMAS) determined from phased microphone arrays“, Journal of Sound and Vibration 294.4, 856-879, 2006.
Dekonvolucioni algoritmi

## Slide 25
P. Sijtsma, „CLEAN based on spatial source coherence“, International journal of aeroacoustics, 6.4:357-374, 2007.
DAMAS2 | CLEAN-SC
Iterativni postupak | 
Veliki dinamički opseg | 
Baziran na 2D FFT algoritmu | Baziran na koherentnosti sadržaja u glavnom i bočnim lobovima
Manja vremenska kompleksnost od DAMAS algoritma | Problem: Brze refleksije koherentni izvori
K. Ehrenfried, L. Koop, „A comparison of iterativ deconvolution algorithms for the mapping of acoustic sources“, AIAA journal, 45.7:1584-1595, 2007.
Dekonvolucioni algoritmi

## Slide 26
CB
CLEAN-SC
DAMAS2
Poređenje rezultata lokalizacije

## Slide 27
  Signal sa jednog mikrofona
  Zbir signala sa svih mikrofona
  Izdvojeni signal
Izdvajanje signala

## Slide 28
Primene

## Slide 29
Primene
Konferencijski sistemi

## Slide 30
Holografija
Primene

## Slide 31: Projekti laboratorije za akustiku

## Slide 32
Primene

## Slide 33
1
5
7
10
4
3
9
12
1
3
Merno mesto
Merno mesto, dve merne visine
Merenja u urbanim uslovima

## Slide 34
Merenja u urbanim uslovima

## Slide 35
Analiza rezultata za različite merne lokacije

## Slide 36
Rezultati algoritama za prostono-vremensku obradu signala po frekvencijskim opsezima
Određivanje ugaone raspodele

## Slide 37
  Dve vrste pregrade kao tipične fasadne pregrade u urbanim uslovima:
    Beton 16 cm
    Staklo 5 mm
Beton
Staklo
Analiza proračuna za različite merne lokacije

## Slide 38
Analiza rezultata proračuna
Kategorija | Opis Kategorije | Lokacija | ΔR (dB) Beton 16 cm | ΔR (dB) Staklo 5 mm
I | Otvorene ulice | Cara Nikolaja II | 5 | 6
 |  | Cara Nikolaja II visina | 6 | 6
II | Kanjon ulice | Bulevar kralja Aleksandra bočno | 4 | 6
 |  | Zgrada Molerova | 6 | 4
 |  | Zgrada Molerova visina | 5 | 1
III | Široke ulice | Bulevar kralja Aleksandra | 6 | 8
 |  | Kraljice Marije | 8 | 8
 |  | Kraljice Marije visina | 7 | 9
IV | Široke ulice sa parkom | Ruzveltova | 7 | 8
 |  | Karnegijeva | 10 | 9
V | Ulice u dolini | Ilije Garašanina | 7 | 8
 |  | Ilije Garašanina visina | 6 | 6

## Slide 39: Izolacija
Zvučna

## Slide 40: Detekcija slabih tačaka u zvučnoj izolaciji

## Slide 41: Mikrofonski nizovi i prostorno-vremenska obrada signala